## Overview
Costing Estimates for Different Solar Setups
Author: | Lie Njie (Craig Michael Seelig, US Peace Corps Volunteer) ¦¦ (+220) 986-7722 ¦¦ lie@kismetworldwide.com
Date: | 2008-03-26
Notes:
1 | ALL COSTS ARE ESTIMATES! Prices change, you will need to ask vendors for current prices.
2 | Using Notebook computers instead of desktops significantly reduces the costs to use solar.
3 | These costing sheets do not include prices for the computers.
4 | Printers are not included.
5 | These sheets do not include costs of installation or regular maintenance.
6 | Solar panel estimates assume full sun each day with a 5.5 power factor for solar panel power generation. (In other words, a "100W" solar panel produces 100*5.5 = 550Wh each day, the approximate daily average for The Gambia)
All worksheets use this exchange rate for Gambian Dalasis per US dollar: |  |  |  | 22
Overview of Estimated Costs for each setup:
| $ US | GMD | Description of Setup
desktops: | 6806.8182 | 149750 | Solar Setup for: 10 Lights (8hrs/day), TV/VCR (2hrs/day), 2 desktop computers (4 hrs/day)
| 13793.1818 | 303450 | Solar Setup for: 10 Lights (8 hrs/day), TV/VCR (2hrs/day), 5 desktop computers (4 hrs/day)
laptops: | 2879.5455 | 63350 | Solar Setup for: 10 Lights (8 hrs/day), TV/VCR (2hrs/day), 2 laptop computers (4 hrs/day)
| 3975 | 87450 | Solar Setup for: 10 Lights (8 hrs/day), TV/VCR (2hrs/day), 5 laptop computers (4 hrs/day)

## 2 desktops_ 4hrs
user-changeable rows | Solar Costing Estimator
Solar Setup for: 10 Lights (8hrs/day), TV/VCR (2hrs/day), 2 desktop computers (4 hrs/day)
Maximum Estimated Power Needed (per day)
|  | item | number | Per-Item Watt Hour (Wh) use each hour | Total Watt hour (Wh) use for all items | Hours Used Per Day | total Watt Hours (Wh) per day
x |  | Desktop Computer (220V @ 2A = 440W) | 2 | 440 | 880 | 4 | 3520
x |  | Laptop Computer (avg 75W) | 0 | 75 | 0 | 4 | 0
x |  | TV (estimated Watts: 80W) | 1 | 80 | 80 | 2 | 160
x |  | VCR (estimated Watts: 70W) | 1 | 75 | 75 | 2 | 150
x |  | Lamps (5W Florescent) | 10 | 5 | 50 | 8 | 400
x |  | Lamps (11W Florescent) | 0 | 11 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | Overflow / future budgeting | 1 | 100 | 100 | 1 | 100
|  | TOTAL: | 15 |  | 1185 |  | 4330 | Watt Hours (Wh) Per Day
|  | Including DC/AC Conversion Loss (15%): |  |  |  |  | 4979.5 | Watt Hours (Wh) Per Day
|  | Total Amps used each hour from a 12V Battery: |  |  |  |  | 414.9583 | Amp Hours (Ah) used Each Day
|  | % of Battery useable: | 75% | (Gell/Solar Batteries are 75% useable, Lead-Acid are 50% useable)
|  | Total Labeled 12V Battery Amp Hours (Ah) Required: | 553.2778 | Amp Hours | = | 6 | pieces 12V, 100 Amp-Hour (Ah) Batteries
| Costs: |  | Exchange Rate US Dollars / Gambian Dalasis: |  |  |  |  | 22 | $ / GMD
|  | TOTAL ESTIMATED COST: | USD | 6806.8182 |  | 149750
CHANGEABLE FIELD
|  | item | quantity | cost per item (GMD) | Include? (1=yes, 0=no) | total cost (GMD)
Solar Panels
x |  | "100W" panels [generally last 5-20 years], In Gambia, average = 550W/day | 10 | 10000 | 1 | 100000 | Note: Prices may differ depending on panel sizes, generally bigger panels are cheaper than several smaller ones.
x
Charge Controller
x |  | Estimated Cost for a Good Charge Controller, Prices Vary | 1 | 5000 | 1 | 5000
x
Batteries
x |  | Gell Batteries [generally last 3-10 years] (Cost / 100 Amp Hours) | 6 | 4000 | 1 | 24000 | Note: Reccomended as they will last longer and have a lower total amortized cost/year vs. Lead Acid batteries
x |  | Lead Acid Batteries [generally last 1-2 years] (Cost / 100 Amp Hours) | 6 | 1800 | 0 | 0
x
Inverters (Note: online prices to ship in America are SIGNIFICANTLY cheaper than the local estimated prices used here)
x |  | H&M "American" 1500W | 1 | 20000 | 1 | 20000 | Note: Must support total Watts/hour maximum above
x |  | H&M "American" 2400W | 1 | 35000 | 0 | 0 | Note: Must support total Watts/hour maximum above
x
Chargers (require 220V AC source)
x |  | 20 Amp Charger (H&M) | 1 | 2500 | 0 | 0
x
Charging Inverters (require 220V AC source)
x |  | MP Trading 500W Inv / 8A Charger | 0 | 3500 | 0 | 0
x |  | MP Trading 1000W Inv / ?A Charger | 0 | 5400 | 0 | 0
x |  | MP Trading 1500W Inv / ?A Charger | 0 | 7300 | 0 | 0
Plugs and Wiring
x |  | THICK wiring and connectors for batteries | 6 | 100 | 1 | 600 | Note: assumes 100D/battery
x |  | 1.5mm core Red Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Black Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Green Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | APC Power Strips with Surge Protectors | 3 | 600 | 0 | 0
x |  | Male Plugs | 0 | 25 | 0 | 0
x |  | 1-Socket Female w/ Casing | 0 | 35 | 0 | 0
x |  | 2-Socket Female w/ Casing | 0 | 90 | 0 | 0
x
Voltage Stabalizers (only necessary with connections to AC power source, optional for fully solar DC system)
x |  | EMKAY 500VA | 0 | 450 | 0 | 0
x |  | 1000VA | 0 | 700 | 0 | 0
x |  | 2000VA | 0 | 1500 | 0 | 0
UPS (Uninterruptable Power Supplies) (optional but highly reccomended one for each computer)
x |  | APC 500VA | 0 | 4000 | 0 | 0
x
Miscelaneous
x |  | Voltmeter / Multimeter | 1 | 150 | 1 | 150
x
Installation
x |  | Battery Installation | 0 |  | 0 | 0
x |  | Charger & Inverter Installation | 0 |  | 0 | 0
x |  | Wiring to each outlet | 0 |  | 0 | 0
x |  | Plugs, Switches, and Sockets | 0 |  | 0 | 0
Maintenance
x |  | Battery Checks (oce every month)
x |  | Gell Battery Replacement (once every 3-10 years)
x |  | Lead-Acid Battery Acid Replacement (once every 9-12 months)
x |  | Lead-Acid Battery Replacement (1-2 years)

## 5 desktops_ 4hrs
user-changeable rows | Solar Costing Estimator
Solar Setup for: 10 Lights (8 hrs/day), TV/VCR (2hrs/day), 5 desktop computers (4 hrs/day)
Maximum Estimated Power Needed (per day)
|  | item | number | Per-Item Watt Hour (Wh) use each hour | Total Watt hour (Wh) use for all items | Hours Used Per Day | total Watt Hours (Wh) per day
x |  | Desktop Computer (220V @ 2A = 440W) | 5 | 440 | 2200 | 4 | 8800
x |  | Laptop Computer (avg 75W) | 0 | 75 | 0 | 4 | 0
x |  | TV (estimated Watts: 80W) | 1 | 80 | 80 | 2 | 160
x |  | VCR (estimated Watts: 70W) | 1 | 75 | 75 | 2 | 150
x |  | Lamps (5W Florescent) | 10 | 5 | 50 | 8 | 400
x |  | Lamps (11W Florescent) | 0 | 11 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | Overflow / future budgeting | 1 | 100 | 100 | 1 | 100
|  | TOTAL: | 18 |  | 2505 |  | 9610 | Watt Hours (Wh) Per Day
|  | Including DC/AC Conversion Loss (15%): |  |  |  |  | 11051.5 | Watt Hours (Wh) Per Day
|  | Total Amps used each hour from a 12V Battery: |  |  |  |  | 920.9583 | Amp Hours (Ah) used Each Day
|  | % of Battery useable: | 75% | (Gell/Solar Batteries are 75% useable, Lead-Acid are 50% useable)
|  | Total Labeled 12V Battery Amp Hours (Ah) Required: | 1227.9444 | Amp Hours | = | 13 | pieces 12V, 100 Amp-Hour (Ah) Batteries
| Costs: |  | Exchange Rate US Dollars / Gambian Dalasis: |  |  |  |  | 22 | $ / GMD
|  | TOTAL ESTIMATED COST: | USD | 13793.1818 |  | 303450
CHANGEABLE FIELD
|  | item | quantity | cost per item (GMD) | Include? (1=yes, 0=no) | total cost (GMD)
Solar Panels
x |  | "100W" panels [generally last 5-20 years], In Gambia, average = 550W/day | 21 | 10000 | 1 | 210000 | Note: Prices may differ depending on panel sizes, generally bigger panels are cheaper than several smaller ones.
x
Charge Controller
x |  | Estimated Cost for a Good Charge Controller, Prices Vary | 1 | 5000 | 1 | 5000
x
Batteries
x |  | Gell Batteries [generally last 3-10 years] (Cost / 100 Amp Hours) | 13 | 4000 | 1 | 52000 | Note: Reccomended as they will last longer and have a lower total amortized cost/year vs. Lead Acid batteries
x |  | Lead Acid Batteries [generally last 1-2 years] (Cost / 100 Amp Hours) | 13 | 1800 | 0 | 0
x
Inverters (Note: online prices to ship in America are SIGNIFICANTLY cheaper than the local estimated prices used here)
x |  | H&M "American" 1500W | 1 | 20000 | 0 | 0 | Note: Must support total Watts/hour maximum above
x |  | H&M "American" 2400W | 1 | 35000 | 1 | 35000 | Note: Must support total Watts/hour maximum above
x
Chargers (require 220V AC source)
x |  | 20 Amp Charger (H&M) | 1 | 2500 | 0 | 0
x
Charging Inverters (require 220V AC source)
x |  | MP Trading 500W Inv / 8A Charger | 0 | 3500 | 0 | 0
x |  | MP Trading 1000W Inv / ?A Charger | 0 | 5400 | 0 | 0
x |  | MP Trading 1500W Inv / ?A Charger | 0 | 7300 | 0 | 0
Plugs and Wiring
x |  | THICK wiring and connectors for batteries | 13 | 100 | 1 | 1300 | Note: assumes 100D/battery
x |  | 1.5mm core Red Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Black Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Green Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | APC Power Strips with Surge Protectors | 3 | 600 | 0 | 0
x |  | Male Plugs | 0 | 25 | 0 | 0
x |  | 1-Socket Female w/ Casing | 0 | 35 | 0 | 0
x |  | 2-Socket Female w/ Casing | 0 | 90 | 0 | 0
x
Voltage Stabalizers (only necessary with connections to AC power source, optional for fully solar DC system)
x |  | EMKAY 500VA | 0 | 450 | 0 | 0
x |  | 1000VA | 0 | 700 | 0 | 0
x |  | 2000VA | 0 | 1500 | 0 | 0
UPS (Uninterruptable Power Supplies) (optional but highly reccomended one for each computer)
x |  | APC 500VA | 0 | 4000 | 0 | 0
x
Miscelaneous
x |  | Voltmeter / Multimeter | 1 | 150 | 1 | 150
x
Installation
x |  | Battery Installation | 0 |  | 0 | 0
x |  | Charger & Inverter Installation | 0 |  | 0 | 0
x |  | Wiring to each outlet | 0 |  | 0 | 0
x |  | Plugs, Switches, and Sockets | 0 |  | 0 | 0
Maintenance
x |  | Battery Checks (oce every month)
x |  | Gell Battery Replacement (once every 3-10 years)
x |  | Lead-Acid Battery Acid Replacement (once every 9-12 months)
x |  | Lead-Acid Battery Replacement (1-2 years)

## 2 laptops_ 4hrs
user-changeable rows | Solar Costing Estimator
Solar Setup for: 10 Lights (8 hrs/day), TV/VCR (2hrs/day), 2 laptop computers (4 hrs/day)
Maximum Estimated Power Needed (per day)
|  | item | number | Per-Item Watt Hour (Wh) use each hour | Total Watt hour (Wh) use for all items | Hours Used Per Day | total Watt Hours (Wh) per day
x |  | Desktop Computer (220V @ 2A = 440W) | 0 | 440 | 0 | 4 | 0
x |  | Laptop Computer (avg 75W) | 2 | 75 | 150 | 4 | 600
x |  | TV (estimated Watts: 80W) | 1 | 80 | 80 | 2 | 160
x |  | VCR (estimated Watts: 70W) | 1 | 75 | 75 | 2 | 150
x |  | Lamps (5W Florescent) | 10 | 5 | 50 | 8 | 400
x |  | Lamps (11W Florescent) | 0 | 11 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | Overflow / future budgeting | 1 | 100 | 100 | 1 | 100
|  | TOTAL: | 15 |  | 455 |  | 1410 | Watt Hours (Wh) Per Day
|  | Including DC/AC Conversion Loss (15%): |  |  |  |  | 1621.5 | Watt Hours (Wh) Per Day
|  | Total Amps used each hour from a 12V Battery: |  |  |  |  | 135.125 | Amp Hours (Ah) used Each Day
|  | % of Battery useable: | 75% | (Gell/Solar Batteries are 75% useable, Lead-Acid are 50% useable)
|  | Total Labeled 12V Battery Amp Hours (Ah) Required: | 180.1667 | Amp Hours | = | 2 | pieces 12V, 100 Amp-Hour (Ah) Batteries
| Costs: |  | Exchange Rate US Dollars / Gambian Dalasis: |  |  |  |  | 22 | $ / GMD
|  | TOTAL ESTIMATED COST: | USD | 2879.5455 |  | 63350
CHANGEABLE FIELD
|  | item | quantity | cost per item (GMD) | Include? (1=yes, 0=no) | total cost (GMD)
Solar Panels
x |  | "100W" panels [generally last 5-20 years], In Gambia, average = 550W/day | 3 | 10000 | 1 | 30000 | Note: Prices may differ depending on panel sizes, generally bigger panels are cheaper than several smaller ones.
x
Charge Controller
x |  | Estimated Cost for a Good Charge Controller, Prices Vary | 1 | 5000 | 1 | 5000
x
Batteries
x |  | Gell Batteries [generally last 3-10 years] (Cost / 100 Amp Hours) | 2 | 4000 | 1 | 8000 | Note: Reccomended as they will last longer and have a lower total amortized cost/year vs. Lead Acid batteries
x |  | Lead Acid Batteries [generally last 1-2 years] (Cost / 100 Amp Hours) | 2 | 1800 | 0 | 0
x
Inverters (Note: online prices to ship in America are SIGNIFICANTLY cheaper than the local estimated prices used here)
x |  | H&M "American" 1500W | 1 | 20000 | 1 | 20000 | Note: Must support total Watts/hour maximum above
x |  | H&M "American" 2400W | 1 | 35000 | 0 | 0 | Note: Must support total Watts/hour maximum above
x
Chargers (require 220V AC source)
x |  | 20 Amp Charger (H&M) | 1 | 2500 | 0 | 0
x
Charging Inverters (require 220V AC source)
x |  | MP Trading 500W Inv / 8A Charger | 0 | 3500 | 0 | 0
x |  | MP Trading 1000W Inv / ?A Charger | 0 | 5400 | 0 | 0
x |  | MP Trading 1500W Inv / ?A Charger | 0 | 7300 | 0 | 0
Plugs and Wiring
x |  | THICK wiring and connectors for batteries | 2 | 100 | 1 | 200 | Note: assumes 100D/battery
x |  | 1.5mm core Red Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Black Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Green Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | APC Power Strips with Surge Protectors | 3 | 600 | 0 | 0
x |  | Male Plugs | 0 | 25 | 0 | 0
x |  | 1-Socket Female w/ Casing | 0 | 35 | 0 | 0
x |  | 2-Socket Female w/ Casing | 0 | 90 | 0 | 0
x
Voltage Stabalizers (only necessary with connections to AC power source, optional for fully solar DC system)
x |  | EMKAY 500VA | 0 | 450 | 0 | 0
x |  | 1000VA | 0 | 700 | 0 | 0
x |  | 2000VA | 0 | 1500 | 0 | 0
UPS (Uninterruptable Power Supplies) (optional but highly reccomended one for each computer)
x |  | APC 500VA | 0 | 4000 | 0 | 0
x
Miscelaneous
x |  | Voltmeter / Multimeter | 1 | 150 | 1 | 150
x
Installation
x |  | Battery Installation | 0 |  | 0 | 0
x |  | Charger & Inverter Installation | 0 |  | 0 | 0
x |  | Wiring to each outlet | 0 |  | 0 | 0
x |  | Plugs, Switches, and Sockets | 0 |  | 0 | 0
Maintenance
x |  | Battery Checks (oce every month)
x |  | Gell Battery Replacement (once every 3-10 years)
x |  | Lead-Acid Battery Acid Replacement (once every 9-12 months)
x |  | Lead-Acid Battery Replacement (1-2 years)

## 5 laptops_ 4hrs
user-changeable rows | Solar Costing Estimator
Solar Setup for: 10 Lights (8 hrs/day), TV/VCR (2hrs/day), 5 laptop computers (4 hrs/day)
Maximum Estimated Power Needed (per day)
|  | item | number | Per-Item Watt Hour (Wh) use each hour | Total Watt hour (Wh) use for all items | Hours Used Per Day | total Watt Hours (Wh) per day
x |  | Desktop Computer (220V @ 2A = 440W) | 0 | 440 | 0 | 4 | 0
x |  | Laptop Computer (avg 75W) | 5 | 75 | 375 | 4 | 1500
x |  | TV (estimated Watts: 80W) | 1 | 80 | 80 | 2 | 160
x |  | VCR (estimated Watts: 70W) | 1 | 75 | 75 | 2 | 150
x |  | Lamps (5W Florescent) | 10 | 5 | 50 | 8 | 400
x |  | Lamps (11W Florescent) | 0 | 11 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | future | 0 | 0 | 0 | 0 | 0
x |  | Overflow / future budgeting | 1 | 100 | 100 | 1 | 100
|  | TOTAL: | 18 |  | 680 |  | 2310 | Watt Hours (Wh) Per Day
|  | Including DC/AC Conversion Loss (15%): |  |  |  |  | 2656.5 | Watt Hours (Wh) Per Day
|  | Total Amps used each hour from a 12V Battery: |  |  |  |  | 221.375 | Amp Hours (Ah) used Each Day
|  | % of Battery useable: | 75% | (Gell/Solar Batteries are 75% useable, Lead-Acid are 50% useable)
|  | Total Labeled 12V Battery Amp Hours (Ah) Required: | 295.1667 | Amp Hours | = | 3 | pieces 12V, 100 Amp-Hour (Ah) Batteries
| Costs: |  | Exchange Rate US Dollars / Gambian Dalasis: |  |  |  |  | 22 | $ / GMD
|  | TOTAL ESTIMATED COST: | USD | 3975 |  | 87450
CHANGEABLE FIELD
|  | item | quantity | cost per item (GMD) | Include? (1=yes, 0=no) | total cost (GMD)
Solar Panels
x |  | "100W" panels [generally last 5-20 years], In Gambia, average = 550W/day | 5 | 10000 | 1 | 50000 | Note: Prices may differ depending on panel sizes, generally bigger panels are cheaper than several smaller ones.
x
Charge Controller
x |  | Estimated Cost for a Good Charge Controller, Prices Vary | 1 | 5000 | 1 | 5000
x
Batteries
x |  | Gell Batteries [generally last 3-10 years] (Cost / 100 Amp Hours) | 3 | 4000 | 1 | 12000 | Note: Reccomended as they will last longer and have a lower total amortized cost/year vs. Lead Acid batteries
x |  | Lead Acid Batteries [generally last 1-2 years] (Cost / 100 Amp Hours) | 3 | 1800 | 0 | 0
x
Inverters (Note: online prices to ship in America are SIGNIFICANTLY cheaper than the local estimated prices used here)
x |  | H&M "American" 1500W | 1 | 20000 | 1 | 20000 | Note: Must support total Watts/hour maximum above
x |  | H&M "American" 2400W | 1 | 35000 | 0 | 0 | Note: Must support total Watts/hour maximum above
x
Chargers (require 220V AC source)
x |  | 20 Amp Charger (H&M) | 1 | 2500 | 0 | 0
x
Charging Inverters (require 220V AC source)
x |  | MP Trading 500W Inv / 8A Charger | 0 | 3500 | 0 | 0
x |  | MP Trading 1000W Inv / ?A Charger | 0 | 5400 | 0 | 0
x |  | MP Trading 1500W Inv / ?A Charger | 0 | 7300 | 0 | 0
Plugs and Wiring
x |  | THICK wiring and connectors for batteries | 3 | 100 | 1 | 300 | Note: assumes 100D/battery
x |  | 1.5mm core Red Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Black Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | 1.5mm core Green Wire Spools (100yards) | 2 | 550 | 0 | 0 | Note: used to connect from Charge Controller to devices
x |  | APC Power Strips with Surge Protectors | 3 | 600 | 0 | 0
x |  | Male Plugs | 0 | 25 | 0 | 0
x |  | 1-Socket Female w/ Casing | 0 | 35 | 0 | 0
x |  | 2-Socket Female w/ Casing | 0 | 90 | 0 | 0
x
Voltage Stabalizers (only necessary with connections to AC power source, optional for fully solar DC system)
x |  | EMKAY 500VA | 0 | 450 | 0 | 0
x |  | 1000VA | 0 | 700 | 0 | 0
x |  | 2000VA | 0 | 1500 | 0 | 0
UPS (Uninterruptable Power Supplies) (optional but highly reccomended one for each computer)
x |  | APC 500VA | 0 | 4000 | 0 | 0
x
Miscelaneous
x |  | Voltmeter / Multimeter | 1 | 150 | 1 | 150
x
Installation
x |  | Battery Installation | 0 |  | 0 | 0
x |  | Charger & Inverter Installation | 0 |  | 0 | 0
x |  | Wiring to each outlet | 0 |  | 0 | 0
x |  | Plugs, Switches, and Sockets | 0 |  | 0 | 0
Maintenance
x |  | Battery Checks (oce every month)
x |  | Gell Battery Replacement (once every 3-10 years)
x |  | Lead-Acid Battery Acid Replacement (once every 9-12 months)
x |  | Lead-Acid Battery Replacement (1-2 years)